## Sheet1
CERT BOSEC P PROC 001 GENERAL RULES F WD 002 EN54-13 V.2
[7 empty] | K-certificate BOSEC |  | If the K-certificaat is mentioned these colums do not have to be completed
Components | [8 empty] | Standards (EN, CEA, …) | CE-CPR/CPR |  | DoP |  | Production place |  | Supplementary information | Remarks
Nature | Brand | Basic Model | Variants (only if it's on the same CE-CPD or CE-CPR certificate) | Type (1/2) | Base (if applicable) |  | Number | Date |  | Number | Date | Number | Date | City | Country
[5 empty] | Model | Nature
Control and indicating equipment with integrated power supply (Accessories) | [8 empty] | EN54-2 EN54-4 | [6 empty] | Options with requirement?
Simple network or hierarchic network?
Accessories?
Control and indicating equipment without integrated power supply (Accessories) | [8 empty] | EN54-2 | [6 empty] | Options with requirement?
Simple network or hierarchic network?
Accessories?
Voice alarm and indicating equipement with integrated power supply (Accessories) | [8 empty] | EN54-16 EN54-4 | [6 empty] | Options with requirement?
Simple network or hierarchic network?
Accessories?
Voice alarm and indicating equipement without integrated power supply (Accessories) | [8 empty] | EN54-16 | [6 empty] | Options with requirement?
Simple network or hierarchic network?
Accessories?
Power supply equipement | [8 empty] | EN54-4 | [6 empty] | built-in?
integrated?
stand-alone?
Housing
Repeater
Sounder | [8 empty] | EN54-3
Sounder + Isolator | [8 empty] | EN54-3 EN54-17
Sounder + visual alarm device | [8 empty] | EN54-3 EN54-23 | [6 empty] | with integrated short-circuit isolator?
Sounder base | [8 empty] | EN54-3
Sounder base + Isolator | [8 empty] | EN54-3 EN54-17
Sounder + visual alarm device + Isolator | [8 empty] | EN54-3 EN54-23 EN54-17
Heat detector | [8 empty] | EN54-5
Heat detector + Isolator | [8 empty] | EN54-5 EN54-17
Heat detector Base + Isolator | [8 empty] | EN54-17
Smoke detector | [8 empty] | EN54-7
Smoke detector + Isolator | [8 empty] | EN54-7 EN54-17
Smoke detector base + Isolator | [8 empty] | EN54-17
Flame detector | [8 empty] | EN54-10
Flame detector + Isolator | [8 empty] | EN54-10 EN54-17
Manual call point | [8 empty] | EN54-11 | [6 empty] | with output & integrated short-circuit isolator?
Environment category?
Manual call point + Isolator | [8 empty] | EN54-11 EN54-17 | [6 empty] | Environment category?
with output & integrated short-circuit isolator?
Smoke detectors — Line detectors using an optical light beam | [8 empty] | EN54-12 | [6 empty] | with integrated short-circuit isolator?
Smoke detectors — Line detectors using an optical light beam + Isolator | [8 empty] | EN54-12 EN54-17 | [6 empty] | with integrated short-circuit isolator?
Short circuit isolators | [8 empty] | EN54-17
I/O Modules | [8 empty] | EN54-18
I/O Modules + Isolator | [8 empty] | EN54-18 EN54-17
Aspirating smoke detector | [8 empty] | EN54-20 | [6 empty] | with integrated short-circuit isolator?
Aspirating smoke detector + Isolator | [8 empty] | EN54-20 EN54-17 | [6 empty] | with integrated short-circuit isolator?
Alarm transmission and fault warning routing equipment | [8 empty] | EN54-21
Alarm transmission and fault warning routing equipment + Isolator | [8 empty] | EN54-21 EN54-17
Resettable line-type heat detectors | [8 empty] | EN54-22 | [6 empty] | with integrated short-circuit isolator?
Resettable line-type heat detectors + Isolator | [8 empty] | EN54-22 EN54-17 | [6 empty] | with integrated short-circuit isolator?
Visual alarm device | [8 empty] | EN54-23
Visual alarm device + Isolator | [8 empty] | EN54-23 EN54-17
Loudspeakers | [8 empty] | EN54-24 | [6 empty] | with integrated short-circuit isolator?
Carbon monoxide detectors | [8 empty] | EN54-26 | [6 empty] | with integrated short-circuit isolator?
Duct smoke detectors | [8 empty] | EN54-27 | [6 empty] | with integrated short-circuit isolator?
Duct smoke detectors + isolator | [8 empty] | EN54-27 EN54-17
Non-resettable line type heat detectors | [8 empty] | EN54-28 | [6 empty] | with integrated short-circuit isolator?
Non-resettable line type heat detectors + Isolator | [8 empty] | EN54-28 EN54-17 | [6 empty] | with integrated short-circuit isolator?
Multi-sensors | [8 empty] | EN54-29 EN54-5 EN54-7
Multi-sensors + isolator | [8 empty] | EN54-29 EN54-5 EN54-7 EN54-17
Others | [15 empty] | with integrated short-circuit isolator?
Others | [8 empty] | Not covered by EN54 | [6 empty] | Type of module?
Note on Q3: Thibault DOUILLET: See in yellow the information that you nee to provide too
Note on G6: Thibault DOUILLET: Relay?Isolator? I/O?...
Note on A7: Thibault DOUILLET: Accesories = Cable DACT card with GSM module Fault Supervision End of Line unit IFAM interface cards Isolator board Key & Lock component LED Indicator Loop card Network card Peripheral Interface Board Translucent door ...
Note on A12: Thibault DOUILLET: Thibault DOUILLET: Accesories = Cable DACT card with GSM module Fault Supervision End of Line unit IFAM interface cards Isolator board Key & Lock component LED Indicator Loop card Network card Peripheral Interface Board Translucent door ...
Note on A17: Thibault DOUILLET: Accesories = Cable DACT card with GSM module Fault Supervision End of Line unit IFAM interface cards Isolator board Key & Lock component LED Indicator Loop card Network card Peripheral Interface Board Translucent door ...
Note on A22: Thibault DOUILLET: Thibault DOUILLET: Accesories = Cable DACT card with GSM module Fault Supervision End of Line unit IFAM interface cards Isolator board Key & Lock component LED Indicator Loop card Network card Peripheral Interface Board Translucent door ...